I TO P & P TO I CONVERTER TRAINER KIT

PROCESS DESCRIPTION:

Components:

- Supply Sensitivity: 0.025% span per % supply pressure change.

- Accuracy: 0.5% FS

- Zero Adjustment: 5% FS, Span Adjustment: 20% FS

- Input Resistance: <300 Ω

- Media: Oil-free, clean, dry air filtered to 25 μm

- Recommended Supply Pressure: 25 to 30 psig (filtered air)

- Max Supply Pressure: 80 psig (for IP210-X120: 135 psi)

- Min Supply Pressure: 10 psi above maximum output pressure.

- Failure Mode: Upon electrical failure, the signal pressure falls to bleed pressure

- Pressure Port: ¼ FNPT

- Electrical Connection: DIN 43650 with screw terminals included

- Output: 4 to 20mA DC