INTERACTING & NON-INTERACTING SYSTEM

A Complete Setup to Study the Level Control in Interacting & Non- Interacting Systems.

PROCESS DESCRIPTION:

Objective:

The Process setup consist of One Water Supply Tank fitted with One Pump for Water Circulation, then it's Consist Rotameter for Flow measurement and, Consist I to P convertor which converts Current to Pressure to operate Pneumatic Control Valves. Pneumatic Control Valve with two Water Tank and Level Probe to Measure Level of Liquid in water Tank. Computer P-IV & Compressor are Optional.

Experiments:

- To Study the response of the P, PI, PD, PID Controllers

- Study of PID Tuning Parameters.

- To Study Level response in both Interacting & Non-Interacting Tank System.

- To Study response in AUTO, Manual, Direct, Reverse Mode of Control.

- To study the response of the instruments Pneumatic Control.

- To Study the response of the Instruments Pneumatic Control Valve, Level Sensors, I/P Convertors.

- To Study Level Controller Characteristic in case of Interacting & Non- Interacting Systems