TEMPRATURE CONTROL SYSTEM

Temperature Control System is designed to teach basic principle of Temperature Control, Temperature Sensor (RTD)

PROCESS DESCRIPTION:

Hardware:

The process setup consists of supply water tank fitted with pump for water circulation. Temperature sensor (RTD Pt-100) senses temperature of the water in geyser & transmit the signals to the controller and depending on the set-point it transmits the signal to Triac Triggering Card which regulates Ac voltage supply to the heater. Computer P-IV.

Experiments:

- To study the response of the P, PI, PD, PID Controllers.

- Response of Auto, Manual, Direct, Reverse mode of controllers, study of PID tuning parameters.

- Study of performance of, and sensors like RTD Pt-100.